## Main List
Unique ID | Data Element Label | Data Element Definition | Value set | Definitions of the elements of the value set | Reference source | Comments & Dependencies | Longitudinal Date & Time Derive timepoint on a study-specific basis | Laterality (i.e., Right or Left side) | Location (i.e., above knee, below knee)
CONDITION - MODIFIED RUTHERFORD CLASSIFICATION
1 | Modified Rutherford Category | Categorical description of the symptoms associated with the obstruction of the lumen of the peripheral arteries (NCI C78533). | 0 | Asymptomatic: documented peripheral arterial disease, without symptoms of claudication or ischemic pain | Adapted from VQI PVI registry, Rutherford J Vasc Surg 1997;26:517-38, ACC/AHA PAD Data Standards Circulation 2012;125:395-467, and PARC J Am Coll Cardiol 2015. |  | x | x | x
|  |  | 1 | Mild claudication: ischemic limb muscle pain that does not limit walking, or limits walking only after >2 blocks (>600 feet, or 2 football fields)
|  |  | 2 | Moderate claudication: ischemic limb muscle pain that limits walking to 1-2 blocks (300-600 feet, or 1-2 football fields)
|  |  | 3 | Severe claudication: ischemic limb muscle pain that limits walking to <1 block (<300 feet, or 1 football field)
|  |  | 4 | Ischemic rest pain: pain in the distal foot at rest felt to be due to limited arterial perfusion
|  |  | 5 | Minor tissue loss: nonhealing ischemic ulcer(s) on distal leg, or focal gangrene with diffuse pedal ischemia
|  |  | 6 | Major tissue loss: ischemic gangrene extending above TM level, functional foot no longer salvageable without extensive revascularization efforts
CONDITION - WOUND GRADE (WIfI)
2 | Wound Grade (WIfI) | Degree of tissue loss (ulceration) due to peripheral artery disease. | 1 | Shallow: presence of small shallow ulcer(s) on distal leg or foot,with any exposed bone being limited to distal phalanx (ie, minor tissue loss, limb salvage possible with simple digital amputation [1 or 2 digits], or skin coverage). | Adapted from Mills, Joseph L. Sr., MD, et.al. (2014). The Society for Vascular Surgery Lower Extremity Threatened Limb Classification System: Risk Stratification Based on Wound, Ischemia, and Foot Infection (WIfI). Journal of Vascular Surgery, Volume 59 (Issue 1) pp.220-pp.234.e2, doi:10.1016/j.jvs.2013.08.003 |  | x | x | x
|  |  | 2 | Deep: presence of deeper full thickness ulcer or necrosis (gangrene) on distal leg or foot with exposed bone, joint, or tendon, or shallow heel ulcer without involvement of the calcaneus (ie, major tissue loss, salvageable with ≥3 digital amputations or standard transmetatarsal amputation [TMA] plus skin coverage).
|  |  | 3 | Extensive: presence of extensive deep ulcer or necrosis (gangrene) of the forefoot and/or midfoot with exposed bone, joint or tendon, or full-thickness heel ulcer with or without involvement of the calcaneus (ie, extensive tissue loss: salvageable only with complex foot reconstruction or nontraditional TMA [eg, Chopart or Lisfranc amputation]).
CONDITION - INFECTION GRADE (WIfI)
3 | Infection Grade (WIfI) | Degree of lower extremity infection due to peripheral artery disease. | 0 | No symptoms or signs of infection | Adapted from Mills, Joseph L. Sr., MD, et.al. (2014). The Society for Vascular Surgery Lower Extremity Threatened Limb Classification System: Risk Stratification Based on Wound, Ischemia, and Foot Infection (WIfI). Journal of Vascular Surgery, Volume 59 (Issue 1) pp.220-pp.234.e2, doi:10.1016/j.jvs.2013.08.003 |  | x | x | x
|  |  | 1 | Infection is present and at least two of the following are present: local swelling or induration, erythema >0.5 to ≤2 cm around ulcer, local tenderness or pain, local warmth, or purulent discharge. Other causes of an inflammatory response of the skin have been excluded (eg, gout, fracture)
|  |  | 2 | Local infection is present as defined for Grade 1, but extends >2 cm around ulcer, or involves structures deeper than the skin and subcutaneous tissues (eg, abscess, osteomyelitis, septic arthritis, fasciitis). No clinical signs of systemic inflammatory response
|  |  | 3 | Local infection is present as defined for Grade 2, but clinical signs of systemic inflammatory response are present as manifested by two or more of the following: temperature >38°C or <36°C; heart rate >90 beats per minute, respiratory rate >20 breaths per minute or PaCO2 <32 mmHg; white blood cell count >12,000 or <4000 (cu/mm) or >10 percent immature band forms present
LAB_RESULT_CM - ANKLE BRACHIAL INDEX (ABI)
4 | Ankle Brachial Index (ABI) | The ankle brachial index is a ratio. The numerator for the calculation of the ABI is the higher of the systolic blood pressure of the posterior tibial and the dorsalis pedis artery. The higher systolic blood pressure of that measured in each arm is used as the denominator. | Numeric (x.xx) |  | Aboyans, Victor, et.al. (2012). Measurement and Interpretation of the Ankle-Brachial Index: A Scientific Statement from the American Heart Association. doi http://dx.doi.org/10.1161/CIR.0b013e318276fbcb | Non-compressible can be queried on a project-specific basis | x | x
LAB_RESULT_CM - TOE PRESSURE VALUE
5 | Toe Pressure Value | Systolic blood pressure of the great toe, or other toe if prior great toe amputation, in mm Hg. | Integer (3) |  | none | Skin Perfusion Pressure (SPP) can be added in a project-specific data set as needed. | x | x
CONDITION - WIfI GRADE
6 | WIfI Grade | Lower Extremity Threatened Limb Classification System to gauge the risk that patients with critical limb ischemia (CLI) will require amputation. The WIfI system is based on wound extent, degree of ischemia, and extent of infection, with each graded on a scale of one to three. Patients receive a spectrum score, with those considered at very low risk of limb amputation within one year classified as stage 1. Low-risk patients are classified as clinical stage 2 under the system, moderate-risk as stage 3, and high-risk as stage 4. | Char (50) |  | Adapted from Mills, Joseph L. Sr., MD, et.al. (2014). The Society for Vascular Surgery Lower Extremity Threatened Limb Classification System: Risk Stratification Based on Wound, Ischemia, and Foot Infection (WIfI). Journal of Vascular Surgery, Volume 59 (Issue 1) pp.220-pp.234.e2, doi:10.1016/j.jvs.2013.08.003 |  | x | x | x
CONDITION - AMBULATORY STATUS
7 | Ambulatory Status | A person's capacity to move from one place to another. (Adapted from NCI) | A0 | No functional limitations | HL7 v2.5.1, Table 0009 - Ambulatory Status |  | x
|  |  | A1 | Ambulates with assistive device
|  |  | A2 | Wheelchair/stretcher bound
8 | Lower Extremity Prosthesis | A device which is an artificial substitute for a missing part of the hip, thigh, leg, and/or foot; used for functional or cosmetic reasons, or both. | Yes/No |  | Adapted from NCI definitions of "prosthesis" (CUI C0175649) and "lower extremity" (CUI C0023216)
CONDITION - FUNCTIONAL STATUS
9 | Functional Status | A person's level of functioning in terms of their ability to care for themself, daily activity, and physical ability (walking, working, etc). | 0 | Fully active, able to carry on all predisease activities without restriction. | ECOG Performance Status Developed by the Eastern Cooperative Oncology Group, Robert L. Comis, MD, Group Chair. Oken M, Creech R, Tormey D, et al. Toxicity and response criteria of the Eastern Cooperative Oncology Group. Am J Clin Oncol. 1982;5:649-655. |  | x
|  |  | 1 | Restricted in physically strenuous activity but ambulatory and able to carry out work of a light or sedentary nature (For example, light housework, office work).
|  |  | 2 | Ambulatory and capable of all self care but unable to carry out any work activities. Up and about more than 50% of waking hours.
|  |  | 3 | Capable of only limited self-care, confined to bed or chair 50% or more of waking hours
|  |  | 4 | Completely disabled. Cannot carry on any self-care. Totally confined to bed or chair.
CONDITION - PERIPHERAL ARTERY SEGMENT - SEGMENT(S) WHERE PERIPHERAL ARTERY DISEASE IS PRESENT
10 | Indicate the artery segment(s) where peripheral artery disease is present (select all that apply). |  | Infra-renal abdominal aorta | The portion of the abdominal aorta that lies below the kidneys. (NCI) | Diehm, N. et.al. (2008). Clinical Endpoints in Peripheral Endovascular Revascularization Trials: a Case for Standardized Definitions. European Journal of Vascular and Endovascular Surgery, Volume 36 (Issue 4), pp.409-pp.419, doi:10.1016/j.ejvs.2008.06.020 | This is the recommended value set for use when the artery segments are being identified. | x | x
|  |  | Common iliac | An artery arising from the bifurcation of the abdominal aorta which then bifurcates forming the internal and external iliac arteries. (NCI)
|  |  | Internal iliac | A short thick blood vessel arising from the bifurcation of the common iliac artery with numerous branches that supply the organs, walls and viscera of the pelvis as well as the inner thigh. (NCI)
|  |  | External iliac | An artery arising from the bifurcation of the common iliac artery in the lower torso. The external iliac artery becomes the femoral artery and is the main blood supply for the leg. (NCI)
|  |  | Common femoral | An artery arising from the external iliac artery at the inguinal ligament which bifurcates forming the deep and superficial femoral arteries. (NCI)
|  |  | Profunda femoris | An artery arising from the common femoral artery just below the inguinal ligament running close to the femur and ending in the lower third of the thigh with branches supplying the thigh muscles. (NCI)
|  |  | Superficial femoral | The portion of the femoral artery distal to the branching of the deep femoral artery that runs close to the skin. This portion of the artery ends upon exiting the adductor canal of the Hunter angiographic approximation: crossing of artery over medial cortex of femur when viewed in an anterior-posterior projection. (Adapted from Diehm, N. et al. & NCI)
|  |  | Popliteal 1 | The segment of the popliteal artery that is located above the knee. It runs from Hunter's canal to proximal edge of patella. (Adapted from Diehm, N. et al. & NCI)
|  |  | Popliteal 2 | The segment of the popliteal artery that runs through the knee, from the proximal part of the patella to the center of the knee joint space. (Adapted from Diehm, N. et al.)
|  |  | Popliteal 3 | The segment of the popliteal artery that is located below the knee. It runs from the center of the knee joint space to the origin of the anterior tibial artery. (Adapted from Diehm, N. et al. & NCI)
|  |  | Anterior tibial | An artery of the lower extremity that supplies blood to the anterior part of the leg and the foot. (NCI)
|  |  | Tibioperoneal trunk | An arterial trunk that contains parts of the posterior tibial artery and fibular artery, running from the origin of the anterior tibial artery to the bifurcation of the posterior tibial and peroneal artery. (Adapted from Diehm, N. et al. & NCI)
|  |  | Posterior tibial | A terminal branch of the popliteal artery that runs along the tibia from the lower portion of the popliteus muscle, from the longitudinal midpoint of the tibial shaft to the level of the distal tip of the medial malleolus. (Adapted from Diehm, N. et al. & NCI)
|  |  | Peroneal | An artery arising from the posterior tibial artery that supplies the muscles on the lateral side of the lower leg, running from the longitudinal midpoint of the tibial shaft to its normal terminus above the ankle mortise. (Adapted from Diehm, N. et al. & NCI)
|  |  | Dorsalis pedis | An artery of the dorsal surface of the foot, originating from the anterior tibial artery of the lower leg, distal to the tibio-talar joint space. (Adapted from Diehm, N. et al. & NCI)
|  |  | Plantar | An artery supplying blood to the bottom of the feet and toes that arises from the posterior tibial artery. (NCI)
CONDITION - IMAGING MODALITY
11 | Imaging Modality | Method of assessment used to determine vessel patency. | Physical Exam | A systemic evaluation of the body and its functions using visual inspection, palpation, percussion and auscultation. The purpose is to determine the presence or absence of physical signs of disease or abnormality for an individual's health assessment. (C20989) | NCI & MeSH |  | x | x | x
|  |  | Ankle Brachial Index (ABI) | The ratio of ankle systolic pressure to brachial systolic pressure, used to assess arterial insufficiency in the lower extremities. (C87304)
|  |  | Magnetic Resonance Angiography (MRA) | Non-invasive method of demonstrating internal anatomy based on the principle that atomic nuclei in a strong magnetic field absorb pulses of radiofrequency energy and emit them as radiowaves which can be reconstructed into computerized images. The concept includes proton spin tomographic techniques. (MeSH E01.370.350.825.500)
|  |  | Duplex Ultrasound | Ultrasonography applying the Doppler effect combined with real-time imaging. The real-time image is created by rapid movement of the ultrasound beam. (MeSH E01.370.350.850.850.850)
|  |  | Computed Tomographic Angiography (CTA) | An imaging technique involving helical computed tomography and computer software to generate high-resolution 2-dimensional and 3-dimensional images. (ACC) (Adapted from C100071)
|  |  | Invasive Angiography | A procedure in which the catheter is passed into a peripheral vessel (usually in the groin) for the purpose of angiography of the abdomen, hands, arms, feet and legs. (C117879)
CONDITION - LESION CHARACTERISTICS
12 | Lesion Length | The length of the target lesion is inclusive of the arterial section treated with the study device (e.g., a stent) and the 10 mm proximal and 10 mm distal to the treated section. (CV endpoints) | Integer 3 |  | Cardiovascular Endpoints document & Merriam-Webster | Lesion characteristics to be linked to each segment identified | x | x | x
13 | Degree of Stenosis | The quality or state of being open or unobstructed; the relative absence of blockage, measured in percent. (adapted from Merriam-Webster's Medical Dictionary) | Occluded | Complete closure of the normally patent lumen of the blood vessels (adapted from C35318)
|  |  | < 50% | Less than 50% closure of the normally patent lumen of the blood vessels.
|  |  | >= 50% | 50% or greater closure of the normally patent lumen of the blood vessels.
14 | Degree of Lesion Calcification | Vascular calcification is a pathologic response to toxic stimuli involving metabolic substances and/or inflammatory cells [1,3,8,15,16]. (Rocha-Singh, Krishna J., MD, et al., Peripheral Arterial Calcification: Prevalence, Mechanism, Detection, and Clinical Implications, Catheterization and Cardiovascular Interventions 00:00–00 (2014)) | Focal | <180 (1 side of vessel) and less than one-half of the total lesion length | Rocha-Singh, KJ, et.al. (2014). Peripheral arterial calcification: prevalence, mechanism, detection, and clinical implications. Catheter Cardiovasc Interv, Volume 83 (Issue 6), doi 10.1002/ccd.25387
|  |  | Mild | <180 and greater than one-half of the total lesion length
|  |  | Moderate | ≥180 (both sides of vessel at same location) and less than one-half of the total lesion length
|  |  | Severe | >180 (both sides of the vessel at the same location) and greater than one-half of the total lesion length
15 | Was Lesion Previously Treated? | History of revascularization of the target lesion. | yes
16 | Previous Stent | History of revascularization of the target lesion using a stent device. | yes
17 | Restenosis | Re-narrowing of a lesion site following treatment of a prior stenosis, to a diameter stenosis of >50% at the previously treated lesion site, inclusive of the original treated site plus the adjacent vascular segments 10 mm proximal and 10 mm distal to the treated segment. (CV Endpoints) | yes
18 | Thrombosis? | Compromise of the lumen of a coronary or peripheral stent by thrombus (blood clot), and not as a result of restenosis or atherosclerosis, after completion of the stent implantation procedure. (CV Endpoints) | yes
19 | Chronic Total Occlusion (CTO) | A longstanding, complete blockage of a vessel. (ACC) (C99938) | yes
20 | CTO Length | The length of the target chronic total occlusion. | Integer 3
CONDITION - LOWER EXTREMITY AMPUTATION LEVEL
21 | Lower Extremity Amputation Level | Anatomic level of lower extremity surgical removal of all or part of a limb or other appendage. (Adapted from C15179) | None | No amputation | NCI & Taber's Cyclopedic Medical Dictionary |  | x | x
|  |  | Toe(s) | The surgical removal of a toe. (C51622)
|  |  | Transmetatarsal | Surgerical removal of all or part of the forefoot, across the region of the foot between the tarsus and phalanges. (adapted from Taber's Cyclopedic Medical Dictionary, Edition 13, Copyright 1977)
|  |  | Below knee | The surgical removal of part or all of leg that is below the knee. (C51702)
|  |  | Through knee | The surgical removal of all of the lower leg, beginning between bone surfaces in the knee joint. (Adapted from C51702 and http://orthosurg.ucsf.edu/oti/patient-care/divisions/orthotics-and-prosthetics/lower-extremity-prosthetics/knee-disarticulation-amputation/)
|  |  | Above knee | Surgical removal of all or part of the leg, made at any point of the femur. (C51772)
PROCEDURE - TARGET LESION
22 | Indicate the artery segment of the target lesion of this procedure (select all that apply) | Location(s) of target lesion | Infra-renal abdominal aorta | The portion of the abdominal aorta that lies below the kidneys. (NCI) | Diehm, N. et.al. (2008). Clinical Endpoints in Peripheral Endovascular Revascularization Trials: a Case for Standardized Definitions. European Journal of Vascular and Endovascular Surgery, Volume 36 (Issue 4), pp.409-pp.419, doi:10.1016/j.ejvs.2008.06.020 |  | x | x
|  |  | Common iliac | An artery arising from the bifurcation of the abdominal aorta which then bifurcates forming the internal and external iliac arteries. (NCI)
|  |  | Internal iliac | A short thick blood vessel arising from the bifurcation of the common iliac artery with numerous branches that supply the organs, walls and viscera of the pelvis as well as the inner thigh. (NCI)
|  |  | External iliac | An artery arising from the bifurcation of the common iliac artery in the lower torso. The external iliac artery becomes the femoral artery and is the main blood supply for the leg. (NCI)
|  |  | Common femoral | An artery arising from the external iliac artery at the inguinal ligament which bifurcates forming the deep and superficial femoral arteries. (NCI)
|  |  | Profunda femoris | An artery arising from the common femoral artery just below the inguinal ligament running close to the femur and ending in the lower third of the thigh with branches supplying the thigh muscles. (NCI)
|  |  | Superficial femoral | The portion of the femoral artery distal to the branching of the deep femoral artery that runs close to the skin. This portion of the artery ends upon exiting the adductor canal of the Hunter angiographic approximation: crossing of artery over medial cortex of femur when viewed in an anterior-posterior projection. (Adapted from Diehm, N. et al. & NCI)
|  |  | Popliteal 1 | The segment of the popliteal artery that is located above the knee. It runs from Hunter's canal to proximal edge of patella. (Adapted from Diehm, N. et al. & NCI)
|  |  | Popliteal 2 | The segment of the popliteal artery that runs through the knee, from the proximal part of the patella to the center of the knee joint space. (Adapted from Diehm, N. et al.)
|  |  | Popliteal 3 | The segment of the popliteal artery that is located below the knee. It runs from the center of the knee joint space to the origin of the anterior tibial artery. (Adapted from Diehm, N. et al. & NCI)
|  |  | Anterior tibial | An artery of the lower extremity that supplies blood to the anterior part of the leg and the foot. (NCI)
|  |  | Tibioperoneal trunk | An arterial trunk that contains parts of the posterior tibial artery and fibular artery, running from the origin of the anterior tibial artery to the bifurcation of the posterior tibial and peroneal artery. (Adapted from Diehm, N. et al. & NCI)
|  |  | Posterior tibial | A terminal branch of the popliteal artery that runs along the tibia from the lower portion of the popliteus muscle, from the longitudinal midpoint of the tibial shaft to the level of the distal tip of the medial malleolus. (Adapted from Diehm, N. et al. & NCI)
|  |  | Peroneal | An artery arising from the posterior tibial artery that supplies the muscles on the lateral side of the lower leg, running from the longitudinal midpoint of the tibial shaft to its normal terminus above the ankle mortise. (Adapted from Diehm, N. et al. & NCI)
|  |  | Dorsalis pedis | An artery of the dorsal surface of the foot, originating from the anterior tibial artery of the lower leg, distal to the tibio-talar joint space. (Adapted from Diehm, N. et al. & NCI)
|  |  | Plantar | An artery supplying blood to the bottom of the feet and toes that arises from the posterior tibial artery. (NCI)
PROCEDURE - LESION NUMBER
23 | Indicate Lesion Number | Enumeration of each target lesion, in the order treated | Integer 3 |  |  | Collect for each target lesion and maintain the link | x | x
PROCEDURE - PROCEDURE URGENCY
24 | Procedure Urgency | Classification of the urgency of a peripheral endovascular revascularization, at the time the operator decides to perform the procedure. | Elective | A procedure that can be performed on an outpatient basis or during a subsequent hospitalization. For stable inpatients, a peripheral endovascular revascularization procedure that is being performed during the hospitalization for convenience and ease of scheduling and not because the patient's clinical situation demands that the procedure be performed prior to discharge. | Adopted from cardiovascular endpoints, which were adapted from NCDR CathPCI v4.4 seq.# 7020 |  | x | x | x
|  |  | Urgent | A procedure that should be performed on an inpatient basis and prior to discharge because of significant concerns about the risk to the patient due to the severity of peripheral artery disease. Patients who are outpatients or in the emergency department would warrant hospital admission based on their clinical presentation.
|  |  | Emergency | A procedure that should be performed as soon as possible because of substantial concerns that the severity of peripheral artery disease and its symptoms could result in permanent neurologic damage (sensory, motor, both) and/or absolute limb loss. "As soon as possible" refers to a patient who is of sufficient acuity that one would cancel a scheduled case to perform this procedure immediately in the next available room during business hours, or one would activate the on-call team were this to occur during off-hours.
PROCEDURE - INTERVENTION TYPE
25 | Was an Angioplasty Balloon Activated? | Use of a balloon catheter for dilation of an occluded artery. (MeSH E02.148.050.060) | yes |  |  | Link to lesion #
26 | Drug-Coated Balloon | An angioplasty balloon that is coated/impregnated/otherwise combined with drug (NCI C102837). With this technology, short-term transfer of antiproliferative drugs to the arterial wall is achieved without the requirement of an implanted drug delivery system. (Gray, William A., MD, et.al., Drug-Coated Balloons for the Prevention of Vascular Restenosis, Circulation.2010; 121: 2672-2680) | yes |  |  | This data collection may be resolved a different way pending the outcome of the GMDN discussions.
27 | Scoring Balloon | The [scoring] balloon is a unique angioplasty device used in percutaneous coronary interventions. The advantage of the [scoring] balloon is its ability to reduce vessel stretch and vessel injury by scoring the vessel longitudinally rather than causing an uncontrolled disruption of the atherosclerotic plaque. The atherotomes deliver a controlled fault line during dilatation to ensure that the crack propagation ensues in an orderly fashion. (Lee, Michael S. MD, et al., Review: Cutting Balloon Angioplasty, J Invasive Cardiol. 2002;14(9) | yes
28 | Cryo-Balloon | A balloon catheter which is designed to destroy arterial plaque through the application of extreme cold. (Adapted from MeSH E02.258) | yes
29 | Was an Atherectomy Device Activated? | A cutting or rotating catheter which excises plaque. It differs from balloon and laser angioplasty procedures which enlarge vessels by dilation but frequently do not remove much plaque. (Adapted from MeSH E02.148.050.120) | yes
30 | Rotational Atherectomy Device | A single-use catheter with a reusable, compact console power source and a front-cutting tip that allows it to go through severely stenotic lesions without predilation. (acc.org/Konstantinos Charitakis, MD, FACC; Dmitriy N. Feldman, M.D., FACC, Atherectomy for Lower Extremity Intervention: Why, When, and Which Device, Jun 16, 2015) | yes
31 | Aspiration Atherectomy Device | A device that uses suction (through a needle or catheter) to remove plaque from the peripheral vasculature (modified NCI C15631) - Aspiration: Procedure using suction, usually with a thin needle and syringe, to remove bodily fluid or tissue. Also: J Endovasc Ther 2007;14:357–364 Percutaneous rotational and aspiration atherectomy in infrainguinal peripheral arterial occlusive disease: a multicenter pilot study. Zeller T1, Krankenberg H, Rastan A, Sixt S, Schmidt A, Tübler T, Schwarz T, Frank U, Bürgelin K, Schwarzwälder U, Hauswald K, Kliem M, Pochert V, Neumann FJ, Scheinert D. | yes
32 | Laser Atherectomy Device | An atherectomy devices that uses a high energy, monochromatic light beam to alter or dissolve (vaporize) plaque without damaging the surrounding vascular tissue (Adapted from Akkus, N. I., Abdulbaki, A., Jimenez, E., & Tandon, N. (2015). Atherectomy devices: technology update. Medical Devices (Auckland, N.Z.), 8, 1–10. http://doi.org/10.2147/MDER.S50594) | yes
33 | Orbital Atherectomy Device | An atherectomy device with an eccentrically-mounted crown that is being used to reduce the total atheroma burden and decrease the vessel-wall trauma, particularly in calcified vessels. Orbital atherectomy utilizes a diamond-coated tungsten crown that orbits 360 degrees eccentrically within the vessel, while employing circumferential plaque removal by differential sanding. (acc.org/Konstantinos Charitakis, MD, FACC; Dmitriy N. Feldman, M.D., FACC, Atherectomy for Lower Extremity Intervention: Why, When, and Which Device, Jun 16, 2015) | yes
34 | Cutting Atherectomy Device | An atherectomy device which utilizes carbide rotating cutter disks that resect and remove the atherosclerotic plaque (acc.org/Konstantinos Charitakis, MD, FACC; Dmitriy N. Feldman, M.D., FACC, Atherectomy for Lower Extremity Intervention: Why, When, and Which Device, Jun 16, 2015) | yes
35 | Suction Rotational Atherectomy Device | An atherectomy device that employs a concentrically rotating burr to cut away plaque and a vacuum suction to extract the particles. (Adapted from http://biomed.brown.edu/Courses/BI108/BI108_2005_Groups/05/tec.htm) | yes
36 | Was a Stent Activated? | A device designed to support a tubular structure, especially the small stainless steel expandable mesh tube inserted within an artery. (C50190) | yes
37 | Bare Metal Stent | A vascular metal mesh tube without a coating. (C80464) | yes
38 | Drug-Eluting Stent | A vascular metal mesh tube coated with medication. The drug coating is intended to lessen the likelihood of restenosis. (C80465) | yes
39 | Covered Stent | Covered stents are composed of fabric or graft material, such as polytetrafluoroethylene (PTFE) or polyester (Dacron), covering a metal stent. | yes
49 | Bioresorbable Stent | A device, made from material that will be absorbed by the body over time, that is designed to keep vascular structures open. (Modified from NCI C50190 & C97231) | yes
41 | Was a Chronic Total Occlusion (CTO)-device utilized? | Device used to recanalize (restore patency of) a vessel that has been occluded for a prolonged period of time. Liang GZ, Zhang FX. Int J Cardiol. 2013 May 25;165(3):423-9. doi: 10.1016/j.ijcard.2012.03.033. Epub 2012 Mar 27. PMID: 22459363 | yes
42 | CTO-recanalization | Device used to restore patency to a vessel that has been occluded for a prolonged period of time. Liang GZ, Zhang FX. Int J Cardiol. 2013 May 25;165(3):423-9. doi: 10.1016/j.ijcard.2012.03.033. Epub 2012 Mar 27. PMID: 22459363 | yes |  |  | Note: If device type (ie categorical descriptions) can be ascertained by mapping to SNOMED or other ontologies, this would be preferred over this enterable field.
43 | CTO-re-entry | Device used to cross back into the true lumen of a vessel that has been occluded for a prolonged period of time.(Adopted from Banerjee, A.; Brilakis, ES. Coronary Chronic Total Occlusion Interventions - American College of Cardiology June 9, 2015. Accessed from http://www.acc.org/latest-in-cardiology/articles/2015/06/09/13/31/coronary-chronic-total-occlusion-interventions on 14JUL2016) | yes
44 | Was Thrombolysis Performed? | The use of a thrombolytic pharmacologic agent to break up a thrombus (blood clot) that is blocking blood flow. (Modified NCI-GLOSS C61457) | yes
45 | Was a Mechanical Thrombectomy Device Activated? | A device designed to mechanically remove a thrombus from a vessel. (Adapted from C52003) | yes
46 | Aspiration Thrombectomy Device Activated? | A device that uses suction (through a needle or catheter) to remove a thrombus (blood clot) from the peripheral vasculature (modified NCI C15631 Aspiration: Procedure using suction, usually with a thin needle and syringe, to remove bodily fluid or tissue. & J Endovasc Ther 2007;14:357–364 Percutaneous rotational and aspiration atherectomy in infrainguinal peripheral arterial occlusive disease: a multicenter pilot study. Zeller T1, Krankenberg H, Rastan A, Sixt S, Schmidt A, Tübler T, Schwarz T, Frank U, Bürgelin K, Schwarzwälder U, Hauswald K, Kliem M, Pochert V, Neumann FJ, Scheinert D.) | yes
47 | Was Open Surgery Performed? | This is a major surgical procedure performed under anesthesia via incisions in the leg (Adapted from http://www.vascular.surgery.ucsf.edu/conditions--procedures/lower-extremity-bypass-surgery.aspx) | yes
48 | Lower Extremity Bypass | The creation of an alternative conduit for blood flow to circumvent the area of blockage and restore direct flow to the lower leg and foot. (Adapted from http://www.vascular.surgery.ucsf.edu/conditions--procedures/lower-extremity-bypass-surgery.aspx) | yes
49 | Endarterectomy | Surgical excision of the atheromatous tunica intima of an artery. (MeSH E04.100.814.456) | yes
50 | Embolectomy | Surgical removal of an embolus. (Adapted from C52001) | yes
PROCEDURE - ACCESS SITE
51 | Access Site | Primary arterial access site utilized for performing the procedure (2012 Peripheral Vascular Data Standards) | Femoral retrograde | An artery arising from the external iliac artery at the inguinal ligament; access occurs opposite to the normal direction or path of blood circulation (Merriam-Webster) |  | Link access site(s) to lesion # | x | x | x
|  |  | Femoral anterograde | An artery arising from the external iliac artery at the inguinal ligament; access occurs in the normal direction or path of blood circulation (Merriam-Webster)
|  |  | Superficial Femoral Artery (SFA) | The portion of the femoral artery distal to the branching of the deep femoral artery that runs close to the skin. This portion of the artery ends upon exiting the adductor canal of the Hunter angiographic approximation: crossing of artery over medial cortex of femur when viewed in an anterior-posterior projection. (Adapted from Diehm, N. et al. & NCI)
|  |  | Popliteal | A continuation of the femoral artery that descends behind the knee joint before branching into the anterior and posterior tibial arteries. (C33337)
|  |  | Dorsalis pedis | An artery of the dorsal surface of the foot, originating from the anterior tibial artery of the lower leg, distal to the tibio-talar joint space. (Adapted from Diehm, N. et al. & NCI)
|  |  | Anterior tibial | An artery of the lower extremity that supplies blood to the anterior part of the leg and the foot. (NCI)
|  |  | Posterior tibial | A terminal branch of the popliteal artery that runs along the tibia from the lower portion of the popliteus muscle, from the longitudinal midpoint of the tibial shaft to the level of the distal tip of the medial malleolus. (Adapted from Diehm, N. et al. & NCI)
|  |  | Peroneal | An artery arising from the posterior tibial artery that supplies the muscles on the lateral side of the lower leg, running from the longitudinal midpoint of the tibial shaft to its normal terminus above the ankle mortise. (Adapted from Diehm, N. et al. & NCI)
|  |  | Brachial | An artery originating at the axillary artery and branching into the radial and ulnar arteries. (C12681)
|  |  | Radial | The branch of the brachial artery that passes down the forearm. (C12838)
|  |  | Axillary | An artery that originates from the subclavian artery at the lateral margin of the first rib that supplies the brachial artery. (C32169)
|  |  | Femoral retro to anterograde | Access site initially in the retrograde femoral direction that is then converted to anterograde using the same sheath/puncture site
|  |  | Femoral ante to retrograde | Access site initially in the retrograde femoral direction that is then converted to anterograde using the same sheath/puncture site
52 | Graft | A previously grafted portion of an artery. | Yes/No
PROCEDURE - ACCESS GUIDANCE
53 | Access Guidance | Approach used to identify the artery at the vascular access site. | Palpation only | A method of feeling with the hands during a physical examination. The health care provider touches and feels the patient's body to examine the size, consistency, texture, location and tenderness of an organ or body part. (C16950) |  | Link access guidance to lesion # | x | x | x
|  |  | Fluoroscopy | Examination of the tissues and deep structures of the body by x-ray, using the fluoroscope, a device that produces an image when x-rays strike a fluorescent screen. (C16588)
|  |  | Ultrasound | A technique in which high-frequency sound waves are bounced off internal organs and the echo pattern is converted into a 2 dimensional picture of the structures beneath the transducer. (C17230)
|  |  | Open Exposure | Surgical cut-down to the vessel to enable direct arterial access (Need citation)
|  |  | Concomitant Endarterectomy | Surgical excision of the atheromatous tunica intima of an artery taking place at the same time. (MeSH E04.100.814.456)
PROCEDURE - SHEATH SIZE
54 | Largest Sheath size | The largest French size of sheath used per access site, or the largest catheter size if no sheath used. | Integer (2) |  |  | Collected for each access site | x | x | x
PROCEDURE - LOWER EXTREMITY AMPUTATION PERFORMED
55 | Lower Extremity Amputation Level | Anatomic level of lower extremity amputation. | None | No amputation |  |  | x | x
|  |  | Toe(s) | The surgical removal of a toe. (C51622)
|  |  | Transmetatarsal | Surgerical removal of all or part of the forefoot. (adapted from www.drugs.com/cg/transmetatarsal-amputation-inpatient-care.html)
|  |  | Below knee | The surgical removal of part or all of leg that is below the knee. (C51702)
|  |  | Through knee | The surgical removal of all of the lower leg, beginning between bone surfaces in the knee joint. (Adapted from C51702 and http://orthosurg.ucsf.edu/oti/patient-care/divisions/orthotics-and-prosthetics/lower-extremity-prosthetics/knee-disarticulation-amputation/)
|  |  | Above knee | Surgical removal of all or part of the leg, made at any point of the femur. (C51772)
PROCEDURE - PROCEDURE SUCCESS
56 | Treatment Aborted or Incomplete | Termination of the percutaneous or surgical intervention procedure. (Adapted from C50421) | yes/no |  |  | Link to lesion #
57 | Acute Procedural Success | Indicates if a PVI procedure is considered successful. Achievement of a satisfactory final residual diameter stenosis at the end of the procedure (and without flow limiting dissection or hemodynamically significant translesional pressure gradient). The specific parameter for final percent residual stenosis is <30%. (Adapted from CV Endpoints) | yes/no | [5 empty] | x
EVENTS
58 | Arterial or Venous Occlusion | Obstruction or closure of an artery or vessel. (Adapted from C50678) | yes/no
59 | Arteriovenous Fistula | An unintended connection between an artery and vein. (C36192) | yes/no
60 | Dissection | New appearance of contrast and/or radiolucencies during PVI inconsistent with the expected luminal dimensions of a lesion and/or vessel. (Adapted from CV Endpoints) | yes/no
61 | Distal Embolization | Embolization of intraluminal material downstream. (Adapted from CV Endpoints) | yes/no
62 | Hematoma | A localized collection of blood, usually clotted, in an organ, space, or tissue, due to a break in the wall of a blood vessel. (C50579) | yes/no
63 | Hemorrhage | The flow of blood from a ruptured blood vessel. (C26791) | yes/no
64 | Pseudoaneurysm | The creation of hematoma outside the arterial wall following bleeding due to puncture of the arterial wall. (Adapted from C50711) | yes/no
65 | Target Lesion Thrombosis | Formation and development of a thrombus or blood clot in the targe lesion blood vessel (adapted from MeSH Tree #: C14.907.355.830) | yes/no
66 | Is Event Device Related? | The event was or may have been attributed to a medical device, or that a medical device was or may have been a factor in the event, including events occurring as a result of: failure, malfunction, improper or inadequate design, manufacture, labeling, or user error. (Adapted from 21CFR803.3) | yes/no |  |  | Unique question for each event & linked to device used
67 | Device Failure | Failure of equipment to perform to standard. The failure may be due to defects or improper use. (MeSH Tree #: E05.325) | yes/no |  |  | Relevant FDA Device Problem codes will be used as the value set for Device Failure. See Tab "FDA Device Problem codes."
68 | Did the Event Require Treatment? | Treatment is an action or administration of therapeutic agents to produce an effect that is intended to alter the course of a pathologic process. (C15368) | yes/no |  |  | Unique question for each event | x | x | x
69 | How Treated? | The action or administration of therapeutic agents used to alter the course of a pathologic process. (C15368) | Surgical | A diagnostic or treatment procedure performed by manual and/or instrumental means, often involving an incision and the removal or replacement of a diseased organ or tissue; of or relating to or involving or used in surgery or requiring or amenable to treatment by surgery. C15329 |  | Linked to each event and device, if applicable
|  |  | Endovascular | Minimally invasive procedures, diagnostic or therapeutic, performed within the BLOOD VESSELS. They may be perfomed via ANGIOSCOPY; INTERVENTIONAL MAGNETIC RESONANCE IMAGING; INTERVENTIONAL RADIOGRAPHY; or INTERVENTIONAL ULTRASONOGRAPHY. (MeSH Tree #: E04.502.382)
|  |  | Medical Management that results in prolonged hospitalization | A procedure-related event that is managed conservatively (without surgery or endovascular intervention). The procedure-related event results in a delay in hospital discharge.
|  |  | Medical Management that results in escalation in level of care | A procedure-related event that is managed conservatively (without surgery or endovascular intervention). The procedure-related event requires an increase in the intensity of nursing or medical care.
|  |  | Transfusion | The introduction of whole blood or blood component directly into the blood stream. (Dorland, 27th ed) (adapted from MeSH Tree #: E02.095.135)

## FDA Device Problem Codes
Source | NCIt Subset Code | FDA Subset Name | NCIt Concept Code | FDA Source Code | FDA Source PT | FDA Source Synonym(s) | FDA Source Definition | NCIt Definition | Parent Concept's NCIt Concept Code | Parent Concept's FDA Source Code | Parent Concept's FDA Source PT
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63297 | 2303 | Bacterial Contamination Of Device | Bacterial Contamination¦Contamination, Bacterial |  |  | C63017 | 2908 | Device Contamination With Biological Material
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63030 | 2885 | Battery Issue |  |  |  | C63025 | 3010 | Power Source Issue
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63287 | 2889 | Buckled Material |  | Issue associated with an undesired bulge, bend, bow, kink, or wavy condition observed in the device material resulting from compressive stresses. |  | C62968 | 2978 | Material Integrity Issue
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63274 | 1096 | Coagulation In Device Or Device Ingredient | Coagulation | Issue associated with the undesired characterization of congealing, solidifying, thickening, curdling. |  | C62845 | 3021 | Sediment, Precipitate Or Deposit In Device Or Device Ingredient
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63018 | 1120 | Contamination During Use | Contamination | Issue associated with the undesired introduction of impurities either chemical or microbiological in nature, or of foreign matter into or onto the device at the user facility. |  | C63276 | 2895 | Disinfection Or Sterilization Issue At User Location
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63023 | 2292 | Defective Component | Components, Defective | Issue associated with a device component having flaws of dimensional deviations greater than acceptable for the intended use. |  | C63250 | 2588 | Defective Item
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63249 | 1149 | Deflation Issue | Deflation Difficulties | Issue associated with the inability of device and/or device components to release its contents. |  | C63075 | 2964 | Infusion Or Flow Issue
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63246 | 2905 | Delivery System Failure |  |  |  | C62961 | 1384 | Mechanical Issue
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63242 | 2907 | Detachment Of Device Or Device Component | Device Or Device Component Detached | Issue associated with the separation of the device and/or device components from its physical construct, integrity, or chassis. |  | C62961 | 1384 | Mechanical Issue
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63015 | 2284 | Device Damaged Prior To Use | Damage, Internal/External¦Damaged Item¦Item Damaged Prior To Use |  |  | C63041 | 2975 | Manufacturing Or Shipping Issue Associated With Device
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63205 | 2591 | Device Displays Error Message |  | Issue associated with a device prompting user with an error message in order to indicate a device problem. |  | C62955 | 2913 | Device Operates Differently Than Expected
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C62979 | 1663 | Device Inoperable | Device, Inoperable | Issue associated with the device being in a nonfunctional or inoperable state and cannot be used unless the causes of the inoperability are located and fixed. |  | C63007 | 1198 | Electrical Issue
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C62957 | 2912 | Device Misassembled During Manufacturing Or Shipping |  |  |  | C63041 | 2975 | Manufacturing Or Shipping Issue Associated With Device
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C62955 | 2913 | Device Operates Differently Than Expected |  | Issue associated with any deviations from expected performance while operating and using the device. |  | C62954 | 2914 | Device Operational Issue
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63240 | 2916 | Device Packaging Compromised |  | Issue associated with the non-conformance to device specifications and minimum packaging requirements as the device may not be operating and functioning as intended. |  | C62939 | 3007 | Packaging Issue
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C62931 | 1525 | Device Remains Activated |  | Issue associated with the device continuing to be in an active state after deactivation was requested. |  | C62988 | 2939 | Failure To Shut Off
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63035 | 2577 | Difficult Or Delayed Activation | Activation, Difficult /Delayed¦Activation, Difficult Or Delayed |  |  | C63244 | 1157 | Difficult To Deploy
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63235 | 2920 | Difficult To Advance |  | Issue associated with difficulty moving the device or its components to an intended location (e.g. difficulty in advancing guidewire). |  | C63034 | 3009 | Positioning Issue
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63244 | 1157 | Difficult To Deploy | Deploy, Difficult To | Issue associated with users experiencing difficulty or uneasiness to deploy device and/or device components to a specified location. |  | C63013 | 2906 | Deployment Issue
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63317 | 1251 | Difficult To Flush | Flush, Difficult To |  |  | C62896 | 1423 | Occlusion Within Device
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63234 | 1254 | Difficult To Fold Or Unfold | Fold, Difficult To | Issue associated with the use of the device in terms of user experiencing difficulty to close or to spread out/extend length of a device, even if the operation is being performed according to labeled instructions for use. |  | C62923 | 2506 | Structural Problem
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63233 | 1316 | Difficult To Insert | Insertion Difficulties | Issue associated with problems introducing or inserting the device, even if the user is operating the device in accordance with the instructions for use or labeling. |  | C63034 | 3009 | Positioning Issue
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63228 | 1528 | Difficult To Remove | Removal Difficulties | Issue associated with the use of the device in terms of user experiencing difficulty to take out or get rid of a device and/or device components, even if the operation is being performed according to labeled instructions for use. |  | C63034 | 3009 | Positioning Issue
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63007 | 1198 | Electrical Issue | Device Electrical Issue¦Electrical Failure | Issue associated with a failure of the electrical circuitry or components of the device. |  | C62954 | 2914 | Device Operational Issue
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C62989 | 2937 | Failure Of Device To Self-Test |  | Issue associated with the device failing to perform an internal self-diagnostic process to ensure normal operation during or prior to use. |  | C62997 | 2936 | Fail-Safe Mechanism Issue
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63198 | 2524 | Failure To Advance | Advance, Failure To | Issue associated with failure to move the device or its components to an intended location. |  | C63034 | 3009 | Positioning Issue
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63186 | 2338 | Failure To Deliver | Deliver, Failure To |  |  | C62902 | 2991 | No Flow
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63183 | 1158 | Failure To Deploy | Deploy, Failure To | Issue associated with the inability of device and/or device components to be activated and positioned in a specified location. |  | C63013 | 2906 | Deployment Issue
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C96715 | 3270 | Failure To Expand |  | Issue associated with the device or one of its components failing to expand. |  | C63013 | 2906 | Deployment Issue
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63176 | 1252 | Failure To Flush | Flush, Failure To |  |  | C63107 | 2309 | Device Rinsing Issue
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C62992 | 1476 | Failure To Power-Up | Power-Up, Failure To |  |  | C63025 | 3010 | Power Source Issue
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63167 | 1492 | Failure To Prime | Prime, Failure To |  |  | C62955 | 2913 | Device Operates Differently Than Expected
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63117 | 1304 | Image Display Error |  | Event in which measurement functions produce erroneous results or the image display is corrupted. |  | C63088 | 1184 | Incorrect Display
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63052 | 1475 | Loss Of Power | Power, Loss Of | Issue associated with the failure of primary power supplied by the facility. |  | C63217 | 2925 | Electrical Power Problem
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C62961 | 1384 | Mechanical Issue | Mechanical Failure | Issues associated with any deviations from device documented performance specifications relating to mechanical defects, including moving parts or subassemblies, etc. |  | C62937 | 3008 | Physical Property Issue
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C62917 | 1395 | Migration Of Device Or Device Component | Migration | Issue associated with an undesired movement of device and/or device components, related to its movement away from or dislodging from a source. |  | C62814 | 3026 | Unintended Movement
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C62958 | 1398 | Misassembled | Misassembly | Issue associated with the use of the device characterized by users' incorrect assembly of device components, parts or constituents. |  | C62955 | 2913 | Device Operates Differently Than Expected
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C62944 | 2311 | Out-Of-Box Failure |  |  |  | C62948 | 1506 | Product Quality Issue
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C62883 | 1437 | Overheating Of Device Or Device Component | Overheat | Issue associated with the device producing high temperatures, such that its operation is compromised (e.g. overheating that produces melting of components or automatic shutdown). |  | C62922 | 3022 | Temperature Issue
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C62869 | 1408 | Poor Quality Image | Monitor, Image Quality Poor | Issue associated with an image or any visual representation displayed by the device with non- distinctive characteristics. |  | C63108 | 2953 | Improper Device Output
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C63003 | 1585 | Smoking | Smoke | Issue associated with a cloud of vapor or gas generated from the device, generally associated after a fire or a burn. |  | C62922 | 3022 | Temperature Issue
FDA | C54451 | Medical Device Problem Codes FDA CDRH | C62833 | 2170 | Suction Issue | Suction Failure | Issue associated with suction equipment, which may be a manual, electrical, vacuum or pressure source operated to evacuate and remove undesired substances (air, gas, fluid, or particulates via tubing and collection bag). |  | C63075 | 2964 | Infusion Or Flow Issue

## Medications
Data Model Domain | Term/Concept (e.g., label on a CRF) | Data Element Label (e.g., on a CRF) | Data Element Definition | Value set (i.e., permissible values) | Definitions of the elements of the value set | Reference source | Comments/Dependencies | Longitudinal Date & Time Derive timepoint on a study-specific basis | Laterality (i.e., Right or Left side) | Location (i.e., above knee, below knee)
PRESCRIBING | Medications | Medication | Peri-procedural (need to define more precisely) | Aspirin |  |  |  | x
Statin
Angiotensin Receptor Blocker (ARB)
Angiotensin Converting Enzyne (ACE) Inhibitor
Cilostazol
Pentoxifylline
Bivalrudin
Glycoprotein (GP) IIbIIIa Inhibitor
P2Y12 Receptor Blocker
Unfractionated heparin
Low molecular weight heparin
*The attributes for the medications will be pulled from other models. All we list here are the medications of interest.

## Devices
Unique ID | Data Model Domain | Term/Concept (e.g., label on a CRF) | Data Element Label (e.g., on a CRF) | Data Element Definition | Value set (i.e., permissible values) | Definitions of the elements of the value set | Reference source | Comments/Dependencies | Longitudinal Date & Time Derive timepoint on a study-specific basis | Laterality (i.e., Right or Left side) | Location (i.e., above knee, below knee)
70 | GUDID | Primary DI Number |  | An identifier that is the main (primary) lookup for a medical device and meets the requirements to uniquely identify a device through its distribution and use. The primary DI number will be located on the base package, which is the lowest package level of a medical device containing a full UDI. For medical devices without packaging, the primary DI number and full UDI may be on the device itself. | Type: Num. or Alphanum. Length: min-6, max-23* *defined by Issuing Agency structure. | Enter the Device Identifier (DI) Number. Data type and field length are determined by the individual Issuing Agency structure. GS1: Numeric (Num.), with 14 digits HIBCC: Alphanumeric (Alphanum.), with 6-23 characters ICCBBA: Alphanumeric, with 10 or 16 characters |  | These are the GUDID data elements that will be incorporated for the RAPID registry. Specific devices, and the specific GUDID elements needed, are found below. | x
71 |  | Company Name |  | Company name associated with the labeler DUNS Number entered in the DI Record. |  | Auto populated based on the Labeler DUNS Number The labeler company name submitted to the GUDID should match the company name on the device label.
72 |  | Brand Name | Brand Name | The Proprietary/Trade/Brand name of the medical device as used in device labeling or in the catalog. This information may 1) be on a label attached to a durable device, 2) be on a package of a disposable device, or 3) appear in labeling materials of an implantable device. The brand name is the name that is typically registered with USPTO and have the ® and/or TM symbol. | Type: Alphanum. Length: 80 | Only symbols, ® and ™ will be supported for the current production release of GUDID. NOTE: per Edit Rules, you will not be able to change ® or ™ (if entered) after the Grace Period. Enter NA if the device does not have a Brand Name.
73 |  | Catalog Number | Catalog Number | The catalog, reference, or product number found on the device label or accompanying packaging to identify a particular product. | Type: Alphanum. Length: 80 | Enter the Catalog or Reference Number. Catalog/Reference number can also serve as Version/Model if it represents the devices that have specifications, performance, size, and composition within limits set by the labeler.
74 |  | GMDN | Code | GMDN Preferred Term (PT) Code is a unique five-digit code used to identify common device types. This PT Code is assigned to medical devices and related health care products for the purposes of grouping and categorization. | GMDN -- Type: Num. Length: 5 FDA PT Code: Type: Alpha Length: 4 | Enter all applicable GMDN Preferred Term Codes or FDA PT Codes. Each device record must have at least one assigned GMDN Code/FDA PT Code; DI records are allowed >1 GMDN Code/FDA PT Code, if necessary. Must enter GMDN Code OR FDA PT Code, please don't enter both codes for the same GMDN Name and Definition. For GMDN Codes: Enter only the 5-digit number, omit the 'P' For FDA PT Codes: Enter the 4-letter code. The FDA PT Codes are assigned to each GMDN term, used in place of a GMDN Code. They enable labelers to assign a GMDN term to their GUDID submission until a GMDN Code can be obtained from the GMDN Agency. The FDA PT Codes can be found in the Find FDA PT Code Module on the GUDID website. For more information, see the GUDID Final Guidance. The FDA PT Codes can be found in the Find FDA PT Code Module on the GUDID website.
75 |  | GMDN | Name | Name of the common device type associated with the GMDN Preferred Term Code/FDA PT Code. |  | Auto populated based on GMDN Preferred Term Code/FDA PT Code.
76 |  | GMDN | Definition | Definition of the common device type associated with the GMDN Preferred Term Code/FDA PT Code. |  | Auto populated based on GMDN Preferred Term Code/FDA PT Code.
77 |  | Device Description |  | Additional relevant information about the device that is not already captured as a distinct GUDID data attribute. | Type: Alphanum. Length: 2000 | Device description should include any description found on the device label to support user comparison of the device label to the GUDID device record. Otherwise, include any additional description or text found in the device labeling.
78 |  | Clinically Relevant Size | Size Type | Dimension type for the clinically relevant measurement of the medical device. | Circumference; Depth; Device Size Text, specify; Catheter Gauge ; Outer Diameter; Height; Length; Lumen/Inner Diameter; Needle Gauge; Total Volume; Width; Weight; Pressure; Pore Size; Area/Surface Area; Angle | If the desired Size Type is not in the current list, select 'Size Text, specify' and the data element 'Size Type Text' will appear (see below). It is expected that the 'Size Text, specify' will only be available for a limited time. Use this option to help us build a list of values that are appropriate for your device type. GUDID reserves the right to review all suggestions before adding values to the Size Type LOV. More than one Size Value per Type and more than one Size Type may be added to each DI record.
79 |  | Clinically Relevant Size | Size Value | Numeric value for the clinically relevant size measurement of the medical device. | Type: Num. Length: 40 | Decimals are accepted; fractions are not accepted. Each Size Value should be entered separately. GUDID is not accepting Size Value as a range at this time.
80 |  | Clinically Relevant Size | Size Unit of Measure | The unit of measure associated with each clinically relevant size. | Length; Area; Weight; Total Volume; Gauge; Angle; Pressure | Choose a value from the drop down.
81 |  |  | Length |  | Centimeter; Decimeter; Feet; Femtometer; Inch; Kilometer; Meter; Micrometer; Millimeter; Nanometer; Picometer; Yard
82 |  |  | Area |  | Square centimeter; Square foot; Square inch; Square meter; Square millimeter
83 |  |  | Weight |  | Gram; Kilogram; Microgram; Milligram; Metric Ton; Pound; Ton
84 |  |  | Total Volume |  | Centiliter; Cubic Inch; Cup; Deciliter; Femtoliter; Fluid Ounce; Gallon; Kiloliter; Liter; Microliter; Milliliter; Nanoliter; Picoliter; Pint; Quart
85 |  |  | Gauge |  | French; Gauge
86 |  |  | Angle |  | Degree
87 |  |  | Pressure |  | Pound per Square Inch; millibar; KiloPascal; Hertz; Millibar
88 |  | Clinically Relevant Size | Size Type Text | Additional undefined device size not represented in the GUDID Size Type LOV. | Type: Alphanum. Length: 200 | Enter Size Type, Size Unit and Unit of Measure for each entry.
89 |  | Version or Model | Version or Model | The version or model found on the device label or accompanying packaging used to identify a category or design of a device. The version or model identifies all devices that have specifications, performance, size, and composition within limits set by the labeler. | Type: Alphanum. Length: 80 | Version/Model can be any distinguishing string of letters and/or numbers. Catalog Number can be entered if device does not currently have a Version or Model. If the device does not have a version, model or catalog number, enter a concept that can be used to identify all devices that have specifications, performance, size, and composition within limits set by the labeler.
| DEVICE | Introducer Sheath | Size Type |  | Gauge |  |  |  | x | x
|  |  | Size Value |  | Type: Num. Length: 40
|  |  | Size Unit of Measure |  | French
|  |  | Size Type Text |  | Type: Alphanum. Length: 200
|  |  | GMDN Code | GMDN Preferred Term (PT) Code is a unique five-digit code used to identify common device types. This PT Code is assigned to medical devices and related health care products for the purposes of grouping and categorization. | GMDN -- Type: Num. Length: 5 FDA PT Code: Type: Alpha Length: 4
|  |  | GMDN Name | Name of the common device type associated with the GMDN Preferred Term Code/FDA PT Code.
| DEVICE | Atherectomy Device | Size Type |  | Outer Diameter; Length
|  |  | Size Value |  | Type: Num. Length: 40
|  |  | Size Unit of Measure |  | Length, Diameter
|  |  | Length |  | mm
90 |  |  | Diameter |  | mm
|  |  | Size Type Text (Length) |  | Type: Alphanum. Length: 200
|  |  | Size Type Text (Diameter) |  | Type: Alphanum. Length: 200
|  |  | Brand Name | The part of the name or logo associated with a specific product or service identifying and distinguishing it from varieties of the same product or service marketed by competing companies. C71898T | Type: Alphanum. Length: 80 |  |  |  | x | x
|  |  | GMDN Code | GMDN Preferred Term (PT) Code is a unique five-digit code used to identify common device types. This PT Code is assigned to medical devices and related health care products for the purposes of grouping and categorization. | GMDN -- Type: Num. Length: 5 FDA PT Code: Type: Alpha Length: 4
|  |  | GMDN Name | Name of the common device type associated with the GMDN Preferred Term Code/FDA PT Code.
| DEVICE | Balloon Catheter | Size Type |  | Outer Diameter; Length |  |  |  | x | x
|  |  | Size Value |  | Type: Num. Length: 40
|  |  | Size Unit of Measure |  | Length, Diameter
|  |  | Length |  | mm
|  |  | Diameter |  | mm
|  |  | Size Type Text (Length) |  | Type: Alphanum. Length: 200
|  |  | Size Type Text (Diameter) |  | Type: Alphanum. Length: 200
|  |  | GMDN Code | GMDN Preferred Term (PT) Code is a unique five-digit code used to identify common device types. This PT Code is assigned to medical devices and related health care products for the purposes of grouping and categorization. | GMDN -- Type: Num. Length: 5 FDA PT Code: Type: Alpha Length: 4
|  |  | GMDN Name | Name of the common device type associated with the GMDN Preferred Term Code/FDA PT Code.
| DEVICE | Stent Device | Size Type |  | Outer Diameter; Length |  |  |  | x | x
|  |  | Size Value |  | Type: Num. Length: 40
|  |  | Size Unit of Measure |  | Length
|  |  | Length |  | mm
|  |  | Diameter |  | mm
|  |  | Size Type Text (Length) |  | Type: Alphanum. Length: 200
|  |  | Size Type Text (Diameter) |  | Type: Alphanum. Length: 200
|  |  | GMDN Code | GMDN Preferred Term (PT) Code is a unique five-digit code used to identify common device types. This PT Code is assigned to medical devices and related health care products for the purposes of grouping and categorization. | GMDN -- Type: Num. Length: 5 FDA PT Code: Type: Alpha Length: 4
|  |  | GMDN Name | Name of the common device type associated with the GMDN Preferred Term Code/FDA PT Code.
| DEVICE | Chronic Total Occlusion (CTO) Devices | GMDN Code | GMDN Preferred Term (PT) Code is a unique five-digit code used to identify common device types. This PT Code is assigned to medical devices and related health care products for the purposes of grouping and categorization. | GMDN -- Type: Num. Length: 5 FDA PT Code: Type: Alpha Length: 4 |  |  |  | x | x
|  |  | GMDN Name | Name of the common device type associated with the GMDN Preferred Term Code/FDA PT Code.
| DEVICE | Mechanical Thrombectomy Device | GMDN Code | GMDN Preferred Term (PT) Code is a unique five-digit code used to identify common device types. This PT Code is assigned to medical devices and related health care products for the purposes of grouping and categorization. | GMDN -- Type: Num. Length: 5 FDA PT Code: Type: Alpha Length: 4 |  |  |  | x | x
|  |  | GMDN Name | Name of the common device type associated with the GMDN Preferred Term Code/FDA PT Code.
| DEVICE | Closure Device | GMDN Code | GMDN Preferred Term (PT) Code is a unique five-digit code used to identify common device types. This PT Code is assigned to medical devices and related health care products for the purposes of grouping and categorization. | GMDN -- Type: Num. Length: 5 FDA PT Code: Type: Alpha Length: 4 |  |  |  | x | x
|  |  | GMDN Name | Name of the common device type associated with the GMDN Preferred Term Code/FDA PT Code.
| DEVICE | Embolization Protection Device | GMDN Code | GMDN Preferred Term (PT) Code is a unique five-digit code used to identify common device types. This PT Code is assigned to medical devices and related health care products for the purposes of grouping and categorization. | GMDN -- Type: Num. Length: 5 FDA PT Code: Type: Alpha Length: 4 |  |  |  | x | x
|  |  | GMDN Name | Name of the common device type associated with the GMDN Preferred Term Code/FDA PT Code.